## Extrahed
Info
¦* FileName (¦*=string)\r
¦* Date\r
¦* Time\r
¦* Comments\r
¦* Type of Gas\r
¦* Sample ID\r
¦* Absorption or Desorption?\r
¦* Asymptotic time step? (Yes/No)\r
¦* Concentration Calculation Method?\r
¦* Collect Kinetic data? (Yes/No)\r
¦* Dose test? (Yes/No)\r
¦* Set Pressure? (0=P,1=dP,2=dP*f(C))\r
¦* Pressure limit? (Yes/No)\r
¦* Ideal Gas Law? (Yes/No)\r
¦* Use Low P Transducer? (Yes/No)\r
$Specdat[0]=LabView Digital Date\r
$Specdat[1]=cycle_number\r
$Specdat[2]=Initial Concentration\r
$Specdat[3]=sample_mass\r
$Specdat[4]=molecular_weight\r
$Specdat[5]=TsAbs\r
$Specdat[6]=TsDes\r
$Specdat[7]=dt\r
$Specdat[8]=time step constant\r
$Specdat[9]=Max measurement time\r
$Specdat[10]=V-reservoir\r
$Specdat[11]=Vsa - Sample Holder Apparent Free Volume\r
$Specdat[12]=V-low pressure\r
$Specdat[13]=Test start min\r
$Specdat[14]=Max Dose time\r
$Specdat[15]=Eq.Test parameter\r
$Specdat[16]=Set P\r
$Specdat[17]=P Limit\r
$Specdat[18]=CycleLifeAbsorption time\r
$Specdat[19]=CycleLifeAbsorption Pressure Limit\r
$Specdat[20]=CycleLifeAbsorption pressure\r
$Specdat[21]=CycleLifeDesorption time\r
$Specdat[22]=CycleLifeDesorption Pressure Limit\r
$Specdat[23]=CycleLifeDesorption pressure\r
$Specdat[24]=%P Tollerance\r
$Specdat[25]=Vso - Sample Holder True Free Volume\r
$Specdat[26]=PinitO(0)\r
$Specdat[27]=Vsa-des\r
$Specdat[28]=VrAbs\r
$Specdat[29]=VrDes\r
HR_N2\r
HR_N2
2012-11-13
15:08
Ap 2 se vzorkem HR_N2, zrnitost 0,06-0,15mm. m(ap2+vz) =13,4750g - adsorpce CO2 pri 30 C.
CARBON DIOXIDE
HR_N2
Absorption
Yes
Direct Method
Yes
Yes
1
Yes
Yes
Yes
Specdata
3435660296
1
0
0.7685
100
30
31
20
1.5
9999999
14.52
9.7896
11.81
15
120
0.0005
0.15
1
40
1
0.15
40
0.001
0.15
8
9.7896
0.000804
0
14.52
14.52
elapsedtime | Peq | PeqLP | PresLP | Pinit | Pres | Ts | Tr | VrWave | AliquotNo | AorD | PinVolts | PoutVolts | PlowVolts | PhighVolts | AICH4Volts | AICH5Volts | AICH6Volts | AICH7Volts | TCCH0Volts | TCCH1Volts | TCCH2Volts | TCCH3Volts | TCCH4Volts | TCCH5Volts | TCCH6Volts | TCCH7Volts | TCCHrefVolts | WtPrcnt | molesGas | mlGas | H_fu | molkg | mlml | mg_g | NewConc0 | NewConc1 | NewConc2
0.31043 | 0.0014408 | 0.0014408 | 0.00080378 | 0.00080378 | 0.00069762 | 29.9533 | 31.0739 | 14.52 | 0 | 1 | 0.44656 | 0.15346 | 0.0025391 | 0.0015869 | 0.19551 | 0.29977 | 0.46164 | 0.55892 | 29.9533 | 31.0739 | 31.7587 | NAN | NAN | NAN | NAN | 30.0467 | 305.8622 | -0.0050498 | -9.7e-07 | -0.021742 | -0.00025244 | -0.0012622 | 0 | -0.050501 | 0 | 0 | 0
0.76083 | 0.083826 | 0.083826 | 0.15114 | 0.0014408 | 0.15082 | 29.9533 | 31.0739 | 14.52 | 1 | 1 | 0.36452 | 0.15377 | 0.12569 | 0.063319 | 0.18964 | 0.25835 | 0.42038 | 0.5267 | 29.9533 | 31.0739 | 31.7587 | NAN | NAN | NAN | NAN | 30.0467 | 305.8849 | 0.19205 | 3.696e-05 | 0.82842 | 0.0096187 | 0.048094 | 0 | 1.9242 | 0.048568 | 0.04857 | 0.048508
1.2999 | 0.17492 | 0.17492 | 0.24223 | 0.083932 | 0.24191 | 29.9844 | 31.0739 | 14.52 | 2 | 1 | 0.28454 | 0.15377 | 0.26184 | 0.13108 | 0.21455 | 0.23518 | 0.37848 | 0.48608 | 29.9844 | 31.0739 | 31.7587 | NAN | NAN | NAN | NAN | 30.0467 | 305.8869 | 0.37076 | 7.148e-05 | 1.6022 | 0.018602 | 0.093012 | 0 | 3.7214 | 0.093491 | 0.093496 | 0.093368
1.8047 | 0.28023 | 0.28023 | 0.35094 | 0.17523 | 0.3502 | 29.9844 | 31.0739 | 14.52 | 3 | 1 | 0.35595 | 0.1533 | 0.41927 | 0.20979 | 0.25708 | 0.23661 | 0.35278 | 0.45037 | 29.9844 | 31.0739 | 31.6965 | NAN | NAN | NAN | NAN | 30.0467 | 305.8622 | 0.53689 | 0.00010368 | 2.3239 | 0.026982 | 0.13491 | 0 | 5.3978 | 0.13539 | 0.1354 | 0.1352
2.2009 | 0.36177 | 0.36177 | 0.41326 | 0.28034 | 0.4122 | 30.0467 | 31.0739 | 14.52 | 4 | 1 | 0.41467 | 0.15346 | 0.54115 | 0.27089 | 0.29581 | 0.24978 | 0.3431 | 0.4272 | 30.0467 | 31.0739 | 31.6965 | NAN | NAN | NAN | NAN | 30.109 | 305.8272 | 0.64668 | 0.00012502 | 2.8022 | 0.032536 | 0.16268 | 0 | 6.5088 | 0.16317 | 0.16318 | 0.16292
2.5976 | 0.45647 | 0.45647 | 0.5139 | 0.36198 | 0.51306 | 29.9844 | 31.0428 | 14.52 | 5 | 1 | 0.36087 | 0.1533 | 0.6827 | 0.34151 | 0.34294 | 0.27248 | 0.3431 | 0.41054 | 29.9844 | 31.0428 | 31.6653 | NAN | NAN | NAN | NAN | 30.0467 | 305.8045 | 0.76222 | 0.00014753 | 3.3067 | 0.038394 | 0.19197 | 0 | 7.6808 | 0.19247 | 0.19248 | 0.19215
2.9329 | 0.55828 | 0.55828 | 0.61784 | 0.45668 | 0.61667 | 29.9844 | 31.0428 | 14.52 | 6 | 1 | 0.34627 | 0.15346 | 0.83489 | 0.41784 | 0.38943 | 0.29819 | 0.35024 | 0.40213 | 29.9844 | 31.0428 | 31.6965 | NAN | NAN | NAN | NAN | 30.109 | 305.7922 | 0.87387 | 0.00016933 | 3.7954 | 0.044068 | 0.22034 | 0 | 8.8157 | 0.22083 | 0.22085 | 0.22045
3.2671 | 0.66891 | 0.66891 | 0.73165 | 0.55934 | 0.73027 | 30.0467 | 31.0739 | 14.52 | 7 | 1 | 0.39356 | 0.1533 | 1.0002 | 0.50068 | 0.44387 | 0.33072 | 0.36357 | 0.3988 | 30.0467 | 31.0739 | 31.6965 | NAN | NAN | NAN | NAN | 30.109 | 305.786 | 0.98164 | 0.00019042 | 4.2681 | 0.049556 | 0.24778 | 0 | 9.9137 | 0.24829 | 0.24832 | 0.24784
3.612 | 0.76626 | 0.76626 | 0.82115 | 0.66997 | 0.81956 | 29.9844 | 31.0428 | 14.52 | 8 | 1 | 0.38721 | 0.15346 | 1.1458 | 0.57336 | 0.50227 | 0.36992 | 0.38404 | 0.40118 | 29.9844 | 31.0428 | 31.6653 | NAN | NAN | NAN | NAN | 29.9844 | 305.7736 | 1.0732 | 0.00020837 | 4.6704 | 0.054228 | 0.27114 | 0 | 10.8483 | 0.27165 | 0.27168 | 0.27113
3.9515 | 0.88835 | 0.88835 | 0.95439 | 0.76669 | 0.95269 | 29.9533 | 31.0428 | 14.52 | 9 | 1 | 0.33818 | 0.15377 | 1.3283 | 0.66461 | 0.56511 | 0.4134 | 0.40943 | 0.4088 | 29.9533 | 31.0428 | 31.6965 | NAN | NAN | NAN | NAN | 30.0467 | 305.7489 | 1.1765 | 0.00022867 | 5.1254 | 0.059511 | 0.29755 | 0 | 11.9051 | 0.29807 | 0.2981 | 0.29747
4.034 | 1.0132 | 1.0132 | 1.0766 | 0.88984 | 1.0746 | 29.9844 | 31.0428 | 14.52 | 10 | 1 | 0.36753 | 0.15727 | 1.5149 | 0.75808 | 0.56812 | 0.42451 | 0.41673 | 0.41165 | 29.9844 | 31.0428 | 31.6965 | NAN | NAN | NAN | NAN | 30.109 | 305.7448 | 1.256 | 0.00024432 | 5.4762 | 0.063584 | 0.31792 | 0 | 12.7199 | 0.31844 | 0.31848 | 0.31776

## Condit+DATA
After correction
| Time | peq | peqLP | presLP | pinit | pres | Ts | Tr | Vr | Aliquot | A/D | pin | pin | pin | pin |  |  |  |  | TCCH0 | TCCH1 | TCCH2 | [5 empty] | TCCHref | Mass % | Moles Gas | ml gas STP | H / f.u. | molkg | ml gas STP / ml sample | mg gas / g sample | Direct | Apparent | R-factor
| [hours] | [bar] | [bar] | [bar] | [bar] | [bar] | [°C] | [°C] | [cm3] | --- | --- | [volts] | [volts] | [volts] | [volts] |  |  |  |  | [volts] | [volts] | [volts] | [5 empty] | [kelvin] | [%wt.] | [moles] | [cm3] | [H / f.u.] | [mmoles g-1] | [cm3 cm-3] | [mg g-1] | [mmoles g-1] | [mmoles g-1] | [mmoles g-1]
| elapsedtime | Peq | PeqLP | PresLP | Pinit | Pres | Ts | Tr | VrWave | AliquotNo | AorD | PinVolts | PoutVolts | PlowVolts | PhighVolts | AICH4Volts | AICH5Volts | AICH6Volts | AICH7Volts | TCCH0Volts | TCCH1Volts | TCCH2Volts | TCCH3Volts | TCCH4Volts | TCCH5Volts | TCCH6Volts | TCCH7Volts | TCCHrefVolts | WtPrcnt | molesGas | mlGas | H_fu | molkg | mlml | mg_g | NewConc0 | NewConc1 | NewConc2
1 | 0.31043 | 0.0014408 | 0.0014408 | 0.00080378 | 0.00080378 | 0.00069762 | 29.9533 | 31.0739 | 14.52 | 0 | 1 | 0.44656 | 0.15346 | 0.0025391 | 0.0015869 | 0.19551 | 0.29977 | 0.46164 | 0.55892 | 29.9533 | 31.0739 | 31.7587 | NAN | NAN | NAN | NAN | 30.0467 | 305.8622 | -0.0050498 | -9.7e-07 | -0.021742 | -0.00025244 | -0.0012622 | 0 | -0.050501 | 0 | 0 | 0
2 | 0.76083 | 0.083826 | 0.083826 | 0.15114 | 0.0014408 | 0.15082 | 29.9533 | 31.0739 | 14.52 | 1 | 1 | 0.36452 | 0.15377 | 0.12569 | 0.063319 | 0.18964 | 0.25835 | 0.42038 | 0.5267 | 29.9533 | 31.0739 | 31.7587 | NAN | NAN | NAN | NAN | 30.0467 | 305.8849 | 0.19205 | 3.696e-05 | 0.82842 | 0.0096187 | 0.048094 | 0 | 1.9242 | 0.048568 | 0.04857 | 0.048508
3 | 1.2999 | 0.17492 | 0.17492 | 0.24223 | 0.083932 | 0.24191 | 29.9844 | 31.0739 | 14.52 | 2 | 1 | 0.28454 | 0.15377 | 0.26184 | 0.13108 | 0.21455 | 0.23518 | 0.37848 | 0.48608 | 29.9844 | 31.0739 | 31.7587 | NAN | NAN | NAN | NAN | 30.0467 | 305.8869 | 0.37076 | 7.148e-05 | 1.6022 | 0.018602 | 0.093012 | 0 | 3.7214 | 0.093491 | 0.093496 | 0.093368
4 | 1.8047 | 0.28023 | 0.28023 | 0.35094 | 0.17523 | 0.3502 | 29.9844 | 31.0739 | 14.52 | 3 | 1 | 0.35595 | 0.1533 | 0.41927 | 0.20979 | 0.25708 | 0.23661 | 0.35278 | 0.45037 | 29.9844 | 31.0739 | 31.6965 | NAN | NAN | NAN | NAN | 30.0467 | 305.8622 | 0.53689 | 0.00010368 | 2.3239 | 0.026982 | 0.13491 | 0 | 5.3978 | 0.13539 | 0.1354 | 0.1352
5 | 2.2009 | 0.36177 | 0.36177 | 0.41326 | 0.28034 | 0.4122 | 30.0467 | 31.0739 | 14.52 | 4 | 1 | 0.41467 | 0.15346 | 0.54115 | 0.27089 | 0.29581 | 0.24978 | 0.3431 | 0.4272 | 30.0467 | 31.0739 | 31.6965 | NAN | NAN | NAN | NAN | 30.109 | 305.8272 | 0.64668 | 0.00012502 | 2.8022 | 0.032536 | 0.16268 | 0 | 6.5088 | 0.16317 | 0.16318 | 0.16292
6 | 2.5976 | 0.45647 | 0.45647 | 0.5139 | 0.36198 | 0.51306 | 29.9844 | 31.0428 | 14.52 | 5 | 1 | 0.36087 | 0.1533 | 0.6827 | 0.34151 | 0.34294 | 0.27248 | 0.3431 | 0.41054 | 29.9844 | 31.0428 | 31.6653 | NAN | NAN | NAN | NAN | 30.0467 | 305.8045 | 0.76222 | 0.00014753 | 3.3067 | 0.038394 | 0.19197 | 0 | 7.6808 | 0.19247 | 0.19248 | 0.19215
7 | 2.9329 | 0.55828 | 0.55828 | 0.61784 | 0.45668 | 0.61667 | 29.9844 | 31.0428 | 14.52 | 6 | 1 | 0.34627 | 0.15346 | 0.83489 | 0.41784 | 0.38943 | 0.29819 | 0.35024 | 0.40213 | 29.9844 | 31.0428 | 31.6965 | NAN | NAN | NAN | NAN | 30.109 | 305.7922 | 0.87387 | 0.00016933 | 3.7954 | 0.044068 | 0.22034 | 0 | 8.8157 | 0.22083 | 0.22085 | 0.22045
8 | 3.2671 | 0.66891 | 0.66891 | 0.73165 | 0.55934 | 0.73027 | 30.0467 | 31.0739 | 14.52 | 7 | 1 | 0.39356 | 0.1533 | 1.0002 | 0.50068 | 0.44387 | 0.33072 | 0.36357 | 0.3988 | 30.0467 | 31.0739 | 31.6965 | NAN | NAN | NAN | NAN | 30.109 | 305.786 | 0.98164 | 0.00019042 | 4.2681 | 0.049556 | 0.24778 | 0 | 9.9137 | 0.24829 | 0.24832 | 0.24784
9 | 3.612 | 0.76626 | 0.76626 | 0.82115 | 0.66997 | 0.81956 | 29.9844 | 31.0428 | 14.52 | 8 | 1 | 0.38721 | 0.15346 | 1.1458 | 0.57336 | 0.50227 | 0.36992 | 0.38404 | 0.40118 | 29.9844 | 31.0428 | 31.6653 | NAN | NAN | NAN | NAN | 29.9844 | 305.7736 | 1.0732 | 0.00020837 | 4.6704 | 0.054228 | 0.27114 | 0 | 10.8483 | 0.27165 | 0.27168 | 0.27113
10 | 3.9515 | 0.88835 | 0.88835 | 0.95439 | 0.76669 | 0.95269 | 29.9533 | 31.0428 | 14.52 | 9 | 1 | 0.33818 | 0.15377 | 1.3283 | 0.66461 | 0.56511 | 0.4134 | 0.40943 | 0.4088 | 29.9533 | 31.0428 | 31.6965 | NAN | NAN | NAN | NAN | 30.0467 | 305.7489 | 1.1765 | 0.00022867 | 5.1254 | 0.059511 | 0.29755 | 0 | 11.9051 | 0.29807 | 0.2981 | 0.29747
11 | 4.034 | 1.0132 | 1.0132 | 1.0766 | 0.88984 | 1.0746 | 29.9844 | 31.0428 | 14.52 | 10 | 1 | 0.36753 | 0.15727 | 1.5149 | 0.75808 | 0.56812 | 0.42451 | 0.41673 | 0.41165 | 29.9844 | 31.0428 | 31.6965 | NAN | NAN | NAN | NAN | 30.109 | 305.7448 | 1.256 | 0.00024432 | 5.4762 | 0.063584 | 0.31792 | 0 | 12.7199 | 0.31844 | 0.31848 | 0.31776
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on R5: Seconds since 1902, reference date
Note on W5: dC/dt criteria to trigger next aliquot
Note on M6: Name of the data file
Note on R6: User input information, sample cycled N times
Note on W6: Aliquot pressure, PCT: Aliquot P, dP, or dP*f©
Note on M7: Date
Note on R7: If sample already fully or partially charged
Note on W7: Pressure limit beyond which experiment stops
Note on M8: Time
Note on R8: Mass of sample in grams
Note on W8: Abs Cycle Life: Duration of absorption cycle (min)
Note on M9: Type of Gas
Note on R9: mw of sample (or mole content of active part)
Note on W9: Abs Cycle Life Kinetics: Pressure limit to start next cycle
Note on M10: Users personal sample ID
Note on R10: Set temperature of the sample
Note on W10: Abs Cycle Life: Applied absorption pressure
Note on M11: A or D
Note on R11: Set temperature of the gas reservoir
Note on W11: Des Cycle Life: Duration of desorption cycle (min)
Note on M12: Use Asymptotic or constant dt
Note on R12: Time interval between collecting data points
Note on W12: Des Cycle Life Kinetics: Pressure limit to start next cycle
Note on M13: Weighted average reservoir & sample temp
Note on R13: Exponential factor for Asymptotic time step
Note on W13: Des Cycle Life: Applied desorption pressure
Note on M14: Save kinetics data to .kin file
Note on R14: Stop measurement after this amount of time
Note on W14: Tolerance level setting of pressure regulator
Note on M15: PCT: Use dP/dt test to go to next aliquot
Note on R15: Volume (ccm) of the gas aliquot reservoir
Note on M16: PCT: Choices for setting aliquot pressure
Note on R16: Empty gas volume (ccm) of the sample holder
Note on M17: Stop experiment at a certain pressure
Note on R17: Volume (ccm) of Low-P transducer + manifold
Note on M18: Ideal or non-Ideal gas
Note on R18: PCT: Minimum time before applying aliquot test
Note on W18: Calibrated volume used for Cycle-Life Absorptions
Note on M19: Switch to Low-P transducer when < LP limit
Note on R19: PCT: Maximum time per aliquot
Note on W19: Calibrated volume used for Cycle-Life Desorptions
Note on M20: Comments about the sample…
Note on C23: Time from start of experiment [hours]
Note on D23: Equilibrium sample pressure [bar]
Note on E23: Equilibrium Low-Pressure Transducer reading [bar]
Note on F23: Aliquot Low-Pressure Transducer reading [bar]
Note on G23: Initial pressure [bar] in the sample holder before applying each aliquot
Note on H23: Aliquot pressure [bar] (from Low-Pressure Transducer if chosen and below Low-P Limit)
Note on I23: Measured temperature of the sample [°C]
Note on J23: Measured temperature of the gas in the reservoir [°C]
Note on K23: Volume of the reservoir used [cm3]
Note on L23: The number of the aliquot that the row of data is associated with / or Cycle number for Cycle-Life measurements
Note on M23: The number "1" if the data is associated with adsorption and "0" for desorption. This is most importatnt for Cycle-Life measurements
Note on N23: Raw voltage data from data acquisition analog input channel 0 [volts], P-in Press Transducer
Note on O23: Raw voltage data from data acquisition analog input channel 1 [volts], P-out Press Transducer
Note on P23: Raw voltage data from data acquisition analog input channel 2 [volts], P-Low Press Transducer
Note on Q23: Raw voltage data from data acquisition analog input channel 3 [volts], P-High Press Transducer
Note on V23: Raw voltage data from data acquisition K-thermocouple input channel 0 [volts], Sample
Note on W23: Raw voltage data from data acquisition K-thermocouple input channel 1 [volts], Reservoir-1
Note on X23: Raw voltage data from data acquisition K-thermocouple input channel 2 [volts], Reservoir-2
Note on AD23: Data acquisition unit's K-thermocouple input unit reference temperature [Kelvin]

## Lang
0
| 1 | 2 | 3
| Peq | NewConc0
1 | 0.0014408 | 0
2 | 0.083826 | 0.048568 | 1.7259
3 | 0.17492 | 0.093491 | 1.8709
4 | 0.28023 | 0.13539 | 2.0698
5 | 0.36177 | 0.16317 | 2.2171
6 | 0.45647 | 0.19247 | 2.3717
7 | 0.55828 | 0.22083 | 2.5281
8 | 0.66891 | 0.24829 | 2.694
9 | 0.76626 | 0.27165 | 2.8208
10 | 0.88835 | 0.29807 | 2.9804
11 | 1.0132 | 0.31844 | 3.1818
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
Note on C6: Equilibrium sample pressure [bar]